Registration form

The NRPI inter-comparison air- exchange rate measurement campaign in a house

This project has received funding from the Euratom research and training programme
2019-2020 under grant agreement No 900009.

- Registration form

| RESPONSIBLE PERSON | NAME: Contact email of the person who is responsible for the instrument: |
| --- | --- |
| INSTITUTION | FULL ADDRESS: |
| INSTRUMENT | - USED TYPE OF EVAULATION UNIT/ SERIAL NUMBER: - PRODUCER: - USED DETECTOR TYPE /SERIAL NUMBER - PRODUCER: - Method of measurement (its principle and how is verified): - Type of tracer gases used, CAS and their Safety lists - Date of last inter-laboratory comparison r - Measurement dynamic range of average ACH over 4 weeks in: A. a house with internal geometric volume of approx. 250 m3 B. a three-storey family house with internal geometric volume of approx.600 m3: - Ambient measurement conditions: RH/T, e.g. RH = (25 – 90) %, T= (5- 40) oC. |
| IMPORTANT NOTES: - This comparison measurement is open also to non RadoNorm partners. Companies are also invited to send their instruments - The comparison will be carried out by correspondence way, only. Deployment and collection of all the instrument from measured building will be assured by trained SURO staff. - Completed and signed registration form should be sent to karel.jilek@suro.cz not later than on 30.10.2024. - All participants will receive a final information on the launch and progress of the comparison within 10 working days of the registration closing. - Each participant will provide to the organizers the results of the measurements in a form received by e-mail during the comparison. Only the results provided by the participants no later than 30 days after the return of their detectors will be included in the analysis and final Report of the benchmarking exercise. - Delivery and insurance of instruments to and from the SURO is the responsibility of each participant. - The following instructions and documents must be also delivered to SURO: - for use and packing of the instruments - how to deploy and pick up the instruments in a house and from the house, respectively - storage conditions of the instruments after their exposure - the list of used tracers, their total amount, CAS and relevant Safety Data Sheets. - The registered participants will receive detailed layouts of the measured building within 10 working days after their registration. - Please, confirm with your signature that on behalf of your institution you agree with publishing of your results from the comparison measurement. The results will be published anonymously. I hereby confirm on behalf of Institution: my consent to publish the results of the comparison measurement. - Any questions, suggestions regarding the comparison measurement in field conditions and/or special requirements for your participation should sent to karel.jilek@suro.cz. |  |